## SoR
RBG Asbestos Removals Framework | [9 empty] | Complete
Tenderer: | Cablesheer Asbestos Ltd
Tender Book - Bespoke Schedule of Rates
For clarity: Codes A030 to A087 for removal works attract the adjacent prelim code. Where multiple removals codes are required, the order will attract only the highest/most appropriate prelim code. Only one prelim code will be issued per order Items A021 - A027 are deemed automatically included in all of the prelim rates, unless specifically instructed to be applied independently by Royal Greenwich.
Ref | Type | Prelim code | Short Description | Long Description | UOM | Indicative Quantity (for evaluation) | Rate | Total | Check?
A001 | Prelims & set ups | A | Preliminaries - External works ne £250 | Preliminary operations & materials to fully comply with the contract conditions, statutory obligations & proper execution of works; | Item | 5 | 200 | 1000 | Done
A002 | Prelims & set ups | A | Preliminaries - External works - any combination of items total value of works £250 - £1000 | Allow for all preliminary operations & material so as to fully comply with the contract conditions, statutory obligations and to ensure the successful prosecution of the works; | Item | 10 | 350 | 3500 | Done
A003 | Prelims & set ups | A | Preliminaries - External works - any combination of items total value of work £1,000 - £10,000 | Allow for all preliminary operations & material so as to fully comply with the contract conditions, statutory obligations and to ensure the successful prosecution of the works; | Item | 17 | 500 | 8500 | Done
A004 | Prelims & set ups | A | Preliminaries - External works - any combination of items total value of work exceeding £10,000 | Allow for all preliminary operations & material so as to fully comply with the contract conditions, statutory obligations and to ensure the successful prosecution of the works; | Item | 2 | 650 | 1300 | Done
A005 | Prelims & set ups | B | Set-up & prelims - Small items; WWP, sink pad, Bath panels, switches and fuses - upto any 3 items | Preliminary operations & materials to fully comply with the contract conditions, statutory obligations & proper execution of works; including but not limited to the provision of; all documentation, RAMS, transfer note & tipping receipt, notification to relevant agency, shadow vacing as appropriate, certificate/s of completion | Item | 20 | 105 | 2100 | Done
A006 | Prelims & set ups | C | Set up & preliminaries - Floor tiles Only - upto whole property | Preliminary operations & materials to fully comply with the contract conditions, statutory obligations & proper execution of works; including but not limited to the provision of; all documentation, RAMS, transfer note & tipping receipt, notification to relevant agency, certificate/s of completion, enclosures airlocks/baglocks, smoke generator, NPU, DCU (inc certificate of cleanliness, delivery, collection, and maintenance throughout duration of works), all attendances for CVC /smoke & air test by 3rd party, Preparatory and post removal cleaning. | Item | 290 | 250 | 72500 | Done
A007 | Prelims & set ups | D | Set up & preliminaries non-notifiable / non - licensed - 1 room | Preliminary operations & materials to fully comply with the contract conditions, statutory obligations & proper execution of works; including but not limited to the provision of; all documentation, RAMS, transfer note & tipping receipt, notification to relevant agency, certificate/s of completion, enclosures airlocks/baglocks, smoke generator, NPU, DCU (inc certificate of cleanliness, delivery, collection, and maintenance throughout duration of works), all attendances for CVC /smoke & air test by 3rd party, Preparatory and post removal cleaning. | Item | 125 | 310 | 38750 | Done
A008 | Prelims & set ups | D | Set up & preliminaries non-notifiable / non - licensed - 2 room | Preliminary operations & materials to fully comply with the contract conditions, statutory obligations & proper execution of works; including but not limited to the provision of; all documentation, RAMS, transfer note & tipping receipt, notification to relevant agency, certificate/s of completion, enclosures airlocks/baglocks, smoke generator, NPU, DCU (inc certificate of cleanliness, delivery, collection, and maintenance throughout duration of works), all attendances for CVC /smoke & air test by 3rd party, Preparatory and post removal cleaning. | Item | 30 | 195 | 5850 | Done
A009 | Prelims & set ups | D | Set up & preliminaries non-notifiable / non - licensed - 1 per level | Preliminary operations & materials to fully comply with the contract conditions, statutory obligations & proper execution of works; including but not limited to the provision of; all documentation, RAMS, transfer note & tipping receipt, notification to relevant agency, certificate/s of completion, enclosures airlocks/baglocks, smoke generator, NPU, DCU (inc certificate of cleanliness, delivery, collection, and maintenance throughout duration of works), all attendances for CVC /smoke & air test by 3rd party, Preparatory and post removal cleaning. | Item | 20 | 220 | 4400 | Done
A010 | Prelims & set ups | D | Set up & preliminaries non-notifiable / non - licensed - whole property | Preliminary operations & materials to fully comply with the contract conditions, statutory obligations & proper execution of works; including but not limited to the provision of; all documentation, RAMS, transfer note & tipping receipt, notification to relevant agency, certificate/s of completion, enclosures airlocks/baglocks, smoke generator, NPU, DCU (inc certificate of cleanliness, delivery, collection, and maintenance throughout duration of works), all attendances for CVC /smoke & air test by 3rd party, Preparatory and post removal cleaning. | Item | 10 | 300 | 3000 | Done
A011 | Prelims & set ups | D | Set up & preliminaries non-notifiable / non - licensed - Communal areas up to 20m² | Preliminary operations & materials to fully comply with the contract conditions, statutory obligations & proper execution of works; including but not limited to the provision of; all documentation, RAMS, transfer note & tipping receipt, notification to relevant agency, certificate/s of completion, enclosures airlocks/baglocks, smoke generator, NPU, DCU (inc certificate of cleanliness, delivery, collection, and maintenance throughout duration of works), all attendances for CVC /smoke & air test by 3rd party, Preparatory and post removal cleaning. | Item | 10 | 250 | 2500 | Done
A012 | Prelims & set ups | D | Set up & preliminaries non-notifiable / non - licensed - Communal areas up to 50m² | Preliminary operations & materials to fully comply with the contract conditions, statutory obligations & proper execution of works; including but not limited to the provision of; all documentation, RAMS, transfer note & tipping receipt, notification to relevant agency, certificate/s of completion, enclosures airlocks/baglocks, smoke generator, smoke generator, NPU, DCU (inc certificate of cleanliness, delivery, collection, and maintenance throughout duration of works), all attendances for CVC /smoke & air test by 3rd party, Preparatory and post removal cleaning. | Item | 10 | 350 | 3500 | Done
A013 | Prelims & set ups | D | Set up & preliminaries non-notifiable / non - licensed - Communal areas e/o for each 10m² | Preliminary operations & materials to fully comply with the contract conditions, statutory obligations & proper execution of works; including but not limited to the provision of; all documentation, RAMS, transfer note & tipping receipt, notification to relevant agency, certificate/s of completion, enclosures airlocks/baglocks, smoke generator, NPU, DCU (inc certificate of cleanliness, delivery, collection, and maintenance throughout duration of works), all attendances for CVC /smoke & air test by 3rd party, Preparatory and post removal cleaning. | Item | 10 | 150 | 1500 | Done
A014 | Prelims & set ups | E | Set-up & preliminaries -Notifiable / licensed - 1 room | Preliminary operations & materials to fully comply with the contract conditions, statutory obligations & proper execution of works; including but not limited to the provision of; all documentation, RAMS, transfer note & tipping receipt, notification to relevant agency, certificate/s of completion, enclosures airlocks/baglocks, smoke generator, NPU, DCU (inc certificate of cleanliness, delivery, collection, and maintenance throughout duration of works), all attendances for CVC /smoke & air test by 3rd party, Preparatory and post removal cleaning. | Item | 40 | 850 | 34000 | Done
A015 | Prelims & set ups | E | Set-up & preliminaries -Notifiable / licensed - 2 rooms | Preliminary operations & materials to fully comply with the contract conditions, statutory obligations & proper execution of works; including but not limited to the provision of; all documentation, RAMS, transfer note & tipping receipt, notification to relevant agency, certificate/s of completion, enclosures airlocks/baglocks, smoke generator, NPU, DCU (inc certificate of cleanliness, delivery, collection, and maintenance throughout duration of works), all attendances for CVC /smoke & air test by 3rd party, Preparatory and post removal cleaning. | Item | 15 | 1050 | 15750 | Done
A016 | Prelims & set ups | E | Set-up & preliminaries -Notifiable / licensed - 1 level | Preliminary operations & materials to fully comply with the contract conditions, statutory obligations & proper execution of works; including but not limited to the provision of; all documentation, RAMS, transfer note & tipping receipt, notification to relevant agency, certificate/s of completion, enclosures airlocks/baglocks, smoke generator, NPU, DCU (inc certificate of cleanliness, delivery, collection, and maintenance throughout duration of works), all attendances for CVC /smoke & air test by 3rd party, Preparatory and post removal cleaning. | Item | 2 | 1600 | 3200 | Done
A017 | Prelims & set ups | E | Set-up & preliminaries -Notifiable / licensed - whole property | Preliminary operations & materials to fully comply with the contract conditions, statutory obligations & proper execution of works; including but not limited to the provision of; all documentation, RAMS, transfer note & tipping receipt, notification to relevant agency, certificate/s of completion, enclosures airlocks/baglocks, smoke generator, NPU, DCU (inc certificate of cleanliness, delivery, collection, and maintenance throughout duration of works), all attendances for CVC /smoke & air test by 3rd party, Preparatory and post removal cleaning. | Item | 2 | 1995 | 3990 | Done
A018 | Prelims & set ups | E | Set-up & preliminaries -Notifiable / licensed - Communal area up to 20m² | Preliminary operations & materials to fully comply with the contract conditions, statutory obligations & proper execution of works; including but not limited to the provision of; all documentation, RAMS, transfer note & tipping receipt, notification to relevant agency, certificate/s of completion, enclosures airlocks/baglocks, smoke generator, NPU, DCU (inc certificate of cleanliness, delivery, collection, and maintenance throughout duration of works), all attendances for CVC /smoke & air test by 3rd party, Preparatory and post removal cleaning. | Item | 2 | 1350 | 2700 | Done
A019 | Prelims & set ups | E | Set-up & preliminaries -Notifiable / licensed - Communal area up to 50m² | Preliminary operations & materials to fully comply with the contract conditions, statutory obligations & proper execution of works; including but not limited to the provision of; all documentation, RAMS, transfer note & tipping receipt, notification to relevant agency, certificate/s of completion, enclosures airlocks/baglocks, smoke generator, NPU, DCU (inc certificate of cleanliness, delivery, collection, and maintenance throughout duration of works), all attendances for CVC /smoke & air test by 3rd party, Preparatory and post removal cleaning. | Item | 2 | 2100 | 4200 | Done
A020 | Prelims & set ups | E | Set-up & preliminaries -Notifiable / licensed - Communal area e/o for each additional 10m² | Preliminary operations & materials to fully comply with the contract conditions, statutory obligations & proper execution of works; including but not limited to the provision of; all documentation, RAMS, transfer note & tipping receipt, notification to relevant agency, certificate/s of completion, enclosures airlocks/baglocks, smoke generator, NPU, DCU (inc certificate of cleanliness, delivery, collection, and maintenance throughout duration of works), all attendances for CVC /smoke & air test by 3rd party, Preparatory and post removal cleaning. | Item | 2 | 950 | 1900 | Done
A021 | Prelims & set ups | F | Assembly and Removal of Enclosure | Assembly & Removal of Enclosure including air lock, bag lock, smoke generator and NPU, lighting and power/generator Up to 4.99m² | Item | 10 | 295 | 2950 | Done
A022 | Prelims & set ups | F | Assembly and Removal of Enclosure | Assembly & Removal of Enclosure including air lock, bag lock, smoke generator and NPU, lighting and power/generator 5m² to 9.99m² | Item | 10 | 585 | 5850 | Done
A023 | Prelims & set ups | F | Assembly and Removal of Enclosure | Assembly & Removal of Enclosure including air lock, bag lock, smoke generator and NPU, lighting and power/generator 10m² to 14.99m² | Item | 10 | 795 | 7950 | Done
A024 | Prelims & set ups | F | Assembly and Removal of Enclosure | Assembly & Removal of Enclosure including air lock, bag lock, smoke generator and NPU, lighting and power/generator 15m² to 19.99m² | Item | 10 | 1080 | 10800 | Done
A025 | Prelims & set ups | F | Assembly and Removal of Enclosure | Assembly & Removal of Enclosure including air lock, bag lock, smoke generator and NPU, lighting and power/generator 20 - 49.99m² | Item | 10 | 1560 | 15600 | Done
A026 | Prelims & set ups | F | Assembly and Removal of Enclosure | Assembly & Removal of Enclosure including air lock, bag lock, smoke generator and NPU, lighting and power/generator 50m - 99.99m² | Item | 10 | 2490 | 24900 | Done
A027 | Prelims & set ups | F | Assembly and Removal of Enclosure | Assembly & Removal of Enclosure including air lock, bag lock, smoke generator and NPU, lighting and power/generator Exceeding 100m² (extra over) | Item | 10 | 55 | 550 | Done
A028 | Prelims & set ups | G | Decontamination unit - 1 day | Deliver to site of contamination with 1 hour of request, maintain, and remove on completion. Rate only to be used where environmental clean is required. Not to be used for tasks where already included in preliminary rates. | Item | 2 | 50 | 100 | Done
A029 | Prelims & set ups | G | e/o above additional days on site | Decontamination unit | day | 2 | 25 | 50 | Done
A030 | External works | A | Flytipping | Clear any amount of contaminated or suspected contaminated materials as instructed by CA and dispose at licensed tip. Leave site clean and tidy. Measured to nearest 0.1 tonne. | Tonne | 5 | 180 | 900 | Done
A031 | External works | A | Flytipping | Hand pick ACM debris from external surface | m² | 80 | 49 | 3920 | Done
A032 | External works | A | Encapsulating | Encapsulate board/ panel/pipe/gutter or the like including all preparatory work, make good surface defects and apply proprietary sealer undertaken in accordance with the manufacturers technical data sheet. Application of 2 coats of ET150 applied in line with manufacturers instructions | m² | 5 | 32 | 160 | Done
A033 | External works | A | Contaminated earth | Clear any amount of contaminated or suspected contaminated materials as instructed by CA and dispose at licensed tip. Leave site clean and tidy. Ne 500mm depth | Tonne | 5 | 250 | 1250 | Done
A034 | External works | A | Soffit and Fascia - AIB | Remove and dispose of AIB soffit/fascia by cutting through fixings or unscrewing, carefully lower to ground and remove from site as special waste double bagged and double sealed. Girth not exceeding 700mm | lm | 35 | 49 | 1715 | Done
A035 | External works | A | Soffit and Fascia - AC | Remove and dispose of AC soffit/fascia by cutting through fixings or unscrewing, carefully lower to ground and remove from site as special waste double bagged and double sealed. Girth not exceeding 700mm | lm | 35 | 34.5 | 1207.5 | Done
A036 | External works | A | Undercloaking - AIB | Remove and dispose of AIB undercloaking by cutting through fixings or unscrewing, carefully lower to ground and remove from site as special waste double bagged and double sealed. Girth not exceeding 700mm | lm | 35 | 49 | 1715 | Done
A037 | External works | A | Undercloaking - AC | Remove and dispose of AC undercloaking by cutting through fixings or unscrewing, carefully lower to ground and remove from site as special waste double bagged and double sealed. Girth not exceeding 700mm | lm | 35 | 34.5 | 1207.5 | Done
A038 | External works | A | Gutters Asbestos Cement | Remove any size asbestos cement gutters including all fittings by cutting through or unscrewing fixings, carefully lower to ground and remove from site as special waste double bagged and double sealed. | lm | 15 | 18 | 270 | Done
A039 | External works | A | Gutters and Downpipes | Remove and dispose of ACM gutters/downpipes, including all fittings by cutting through or unscrewing fixings, carefully lower to ground and remove from site as special waste double bagged and double sealed. | lm | 20 | 18 | 360 | Done
A040 | External works | A | Cowl - AC | Remove and dispose of AC cowl, including all fittings by cutting through or unscrewing fixings, carefully lower to ground and remove from site as special waste double bagged and double sealed. | Item | 5 | 15 | 75 | Done
A041 | External works | A | Stacks/ waste pipe/flue Cement - any size | Remove any size asbestos cement stacks/waste pipes/flue including all fittings by cutting through or unscrewing fixings, carefully lower to ground and remove from site as special waste double bagged and double sealed. | lm | 15 | 18 | 270 | Done
A042 | External works | A | Shed (large) / garage roof - any size | Remove any type of asbestos cement sheet roofing including all fittings by cutting through fixings, carefully lower to ground and remove from site as special waste double bagged and double sealed. | Item | 20 | 250 | 5000 | Done
A043 | External works | A | Garages walls & roof | Remove any type of asbestos cement sheet roofing / walls including all fittings by cutting through fixings, carefully lower to ground and remove from site as special waste double bagged and double sealed. | Item | 2 | 795 | 1590 | Done
A044 | External works | A | Roof slates/tiles | Remove asbestos cement roofing slates or tiles and fixings, carefully lower to ground and remove from site as special waste double bagged and double sealed, area ne 1.00m2 | Item | 5 | 40 | 200 | Done
A045 | External works | A | Roof Sheets | Remove and dispose of ACM roofing sheet including all fittings by cutting through fixings and remove from site as special waste double bagged and double sealed. | m² | 75 | 45 | 3375 | Done
A046 | External works | A | Roof Materials | Removal and dispose of ACM built up felt roofing including all fittings by cutting through fixings and remove from site as special waste double bagged and double sealed. | m² | 15 | 28 | 420 | Done
A047 | External works | A | Roof Materials | Removal and dispose of ACM bitumen based sarking felt and battens including all fittings by cutting through fixings and remove from site as special waste double bagged and double sealed. | m² | 100 | 34 | 3400 | Done
A048 | External works | A | Asbestos Cement board/panel/sheet | Remove any type of asbestos cement sheet including all fittings by cutting through fixings and remove from site as special waste double bagged and double sealed. | m² | 30 | 40 | 1200 | Done
A049 | Internal works | B | WWP | Remove asbestos WC cistern / WWP and remove from site as special waste double bagged and double sealed, any size panel. including removal from wall/ floor fitting. Disconnection from waste and servicers by others. | No | 90 | 10 | 900 | Done
A050 | Internal works | B | Bath panel(s) - side and side & end | Remove asbestos cement bath panel/s and remove from site as special waste double bagged and double sealed, any size panel. Any number to single bath | Item | 250 | 15 | 3750 | Done
A051 | Internal works | B | Water tank | Remove any size asbestos cement water storage tank, cistern or similar and remove from site as special waste double bagged and double sealed. To be drained and isolated by others. | Item | 5 | 100 | 500 | Done
A052 | Internal works | E | Fuseboards & switches | Remove any asbestos cement electrical component (light switch, ceiling rose, power socket, consumer unit etc) and remove from site as special waste double bagged and double sealed. Isolate electric supply by others. | Item | 5 | 25 | 125 | Done
A053 | Internal works | B | Remove sink and ACM pad | Remove sink and asbestos containing bituminous sink pad and remove from site as special waste double bagged and double sealed (prior drained and isolated by others) | Item | 10 | 30 | 300 | Done
A054 | Internal works | B | Any small ACM ie sink pad / | Remove asbestos containing bituminous sink pad or any number of other small items of ACM each ne 0.1m2 and remove from site as special waste double bagged and double sealed | Item | 5 | 20 | 100 | Done
A055 | Internal works | B | Drill holes through ACM <25mm diameter | Drill holes through textured wall/ceiling coating or cement panel including substrate to allow installation of services or fittings. All in accordance with HSE guidance. Any no. within single dwelling (Up to 5 holes) | Item | 20 | 30 | 600 | Done
A056 | Internal works | B | Drill holes through ACM 26mm - 100mm diameter | Drill holes through textured wall/ceiling coating or cement panel including substrate to allow installation of services or fittings. All in accordance with HSE guidance. Any no. within single dwelling (Up to 5 holes) | Item | 20 | 30 | 600 | Done
A057 | Internal works | B | Drill holes through ACM 101mm - 150mm diameter | Drill holes through textured wall/ceiling coating or cement panel including substrate to allow installation of services or fittings. All in accordance with HSE guidance. Any no. within single dwelling (Up to 5 holes) | Item | 20 | 30 | 600 | Done
A058 | Internal works | C | FloorTiles / sheet - adhesive to remain | Remove asbestos /thermoplastic floor tiles / sheet floor covering and remove from site as special waste double bagged and double sealed. | m² | 13400 | 9 | 120600 | Done
A059 | Internal works | C | FloorTiles / sheet - including removing all adhesive from substrate | Remove asbestos /thermoplastic floor tiles / sheet floor covering and remove from site as special waste double bagged and double sealed. | m² | 3350 | 24 | 80400 | Done
A060 | Internal works | C | Floor covering | Remove and dispose of ACM paper lining beneath floor covering | m² | 50 | 15 | 750 | Done
A061 | Internal works | C | Floor covering | Remove and dispose of ACM stair nosings | Item | 50 | 15 | 750 | Done
A062 | Internal works | D | Cement board | Remove any size asbestos cement board including all fittings by cutting through or unscrewing fixings, carefully lower to ground and remove from site as special waste double bagged and double sealed. | m² | 750 | 35 | 26250 | Done
A063 | Internal works | D | Cement Flue/pipe | Remove any size asbestos cement flue / pipe or the like including all fittings by cutting through or unscrewing fixings, carefully lower to ground and remove from site as special waste double bagged and double sealed. | m | 20 | 18 | 360 | Done
A064 | Internal works | A | Environmental clean internal / decontaminate | Decontamination by hand - Wire Brush Method - pipework or timber | m | 20 | 60 | 1200 | Done
A065 | Internal works | A | Environmental clean internal / decontaminate | Decontamination by Quilling Method - walls and ceilings | m² | 50 | 90 | 4500 | Done
A066 | Internal works | A | Environmental clean internal / decontaminate | Decontamination of dust/debris via H type vacuum and tac rags | m² | 100 | 30 | 3000 | Done
A067 | Internal works | A | Environmental clean internal / decontaminate | Remove and dispose of asbestos loft insulation or contaminated non-asbestos loft insulation | m² | 1100 | 31 | 34100 | Done
A068 | Internal works | D | Textured coatings from boarded surface; plasterboard or the like | Remove any boarded surface; asbestos based textured coating material and board gypsum based (plasterboard) or similar backing material ne 22.5mm thick and remove from site as special waste double bagged and double sealed. | m² | 7800 | 22 | 171600 | Done
A069 | Internal works | D | Textured coatings from solid substrate; concrete or the like | Thoroughly remove from boarded surface; asbestos based textured coating material or similar leave surface clean of all coating. Remove from site as special waste double bagged and double sealed. | m² | 5200 | 25 | 130000 | Done
A070 | Internal works | D | Textured coatings from plasterboard or the like | Thoroughly remove from boarded surface; asbestos based textured coating material or similar leave surface clean of all coating. Remove from site as special waste double bagged and double sealed. | m² | 340 | 32 | 10880 | Done
A071 | Internal works | E | Asbestos insulation Board - AIB | Remove and dispose of AIB sheet material - wall or ceiling. Remove from site as special waste double bagged and double sealed. | m² | 460 | 48 | 22080 | Done
A072 | Internal works | E | Asbestos insulation Board - AIB | Remove and dispose of AIB sheet material - boxing in. Remove from site as special waste double bagged and double sealed. Girth not exceeding 800mm | lm | 500 | 44 | 22000 | Done
A073 | Internal works | E | Pipe insulation | Remove and dispose of asbestos pipe insulation | lm | 120 | 28 | 3360 | Done
A074 | Internal works | E | Pipe insulation | Remove and dispose of contaminated non-asbestos pipe insulation | lm | 250 | 30 | 7500 | Done
A075 | Internal works | E | Pipe insulation | Application of red oxide paint to cleaned pipework | lm | 80 | 25 | 2000 | Done
A076 | Internal works | E | Pipe insulation | Hire of wet stripping injection system - per week | Item | 5 | 275 | 1375 | Done
A077 | Internal works | E | Pipe insulation | Wet stripping - Setting up costs based on 24 hrs prior to removal works | lm | 5 | 750 | 3750 | Done
A078 | Internal works | E | Rope | Carefully remove asbestos rope from any location and remove from site. | Item | 60 | 31 | 1860 | Done
A079 | Internal works | E | Contaminated items - sort & Remove | Sort and remove items for subsequent reinstatement or disposal, provide sealable clear bags (each 900x1000mm), place items in bags, seal and remove bags to suitable storage facility and later reinstate - min qty 1m3 | M3 | 30 | 30 | 900 | Done
A080 | Internal works | E | Contaminated items - Decontaminate | Decontamination and cleaning of all sealed bags of tenants contents to be returned to property, decontamination to be undertaken under controlled conditions under the supervision of the Service Provider's Analyst and to the satisfaction of the Client, transport to Property and reinstatement. - min qty 1m3 | M3 | 10 | 25 | 250 | Done
A081 | Internal works | E | Contaminated items - Disposal | Disposal of sealed bags of tenants contents where unsuitable for decontamination or cleaning after review by Client's Loss Adjuster and Tenant from individual dwellings furniture items store, disposal as contaminated waste - min qty 1m3 | M3 | 20 | 22 | 440 | Done
A082 | Internal works | B | Boilers and Heaters | Remove and dispose of asbestos containing domestic boiler/warm air unit (gas or electric) /storage heater. Isolation by others | Item | 10 | 48 | 480 | Done
A083 | Internal works | B | Boilers and Heaters | Remove and dispose of asbestos containing sanitary incinerator | Item | 10 | 65 | 650 | Done
A084 | Internal works | A | Doors and Door Headers | Remove and dispose asbestos lined fire door and frame including asbestos packers | Item | 5 | 90 | 450 | Done
A085 | Internal works | E | Doors and Door Headers | Remove and dispose AIB panel above door | Item | 120 | 40 | 4800 | Done
A086 | Internal works | D | Doors and Door Headers | Remove and dispose AC panel above door | Item | 120 | 25 | 3000 | Done
A087 | Internal works | D | Doors and Door Headers | Remove and dispose of asbestos containing Durasteel door | Item | 5 | 100 | 500 | Done
[7 empty] | Evaluation Total: | 978385
Note on H35: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: M2 not item
Note on H36: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Per day

## Daywork
RBG Reactive Asbestos Removals Framework | [7 empty] | Complete
Tenderer: | Cablesheer Asbestos Ltd
Tender Book - Daywork Rates
Table A - Labour Rates
Ref | In Hours /Out of Hours | Description | UOM | Rate | Indicative No. of hours (for Evaluation) | Total (Rate x Qty) | Check?
B001 | In Hours | Non-licensed work (single operative) | Per hour | 18 | 100 | 1800 | Done
B002 | In Hours | Licensed work (single operative) | Per hour | 18 | 100 | 1800 | Done
B003 | In Hours | Admin Staff | Per hour | 15 | 50 | 750 | Done
B004 | In Hours | Contracts Manager | Per hour | 25 | 50 | 1250 | Done
B005 | In Hours | Consultant | Per hour | 30 | 50 | 1500 | Done
B006 | In Hours | Supervisor | Per hour | 25 | 50 | 1250 | Done
B007 | Out of Hours | Non-licensed work (single operative) | Per hour | 18 | 100 | 1800 | Done
B008 | Out of Hours | Licensed work (single operative) | Per hour | 18 | 100 | 1800 | Done
B009 | Out of Hours | Admin Staff | Per hour | 15 | 50 | 750 | Done
B010 | Out of Hours | Contracts Manager | Per hour | 25 | 50 | 1250 | Done
B011 | Out of Hours | Consultant | Per hour | 30 | 50 | 1500 | Done
B012 | Out of Hours | Supervisor | Per hour | 25 | 50 | 1250 | Done
B013 | In/Out of Hours | Provision and disposal of P3 Mask, Cat3 Type 5/6 overalls and overshoes to allow for minor works (reset of boilers, legionella check etc), decontamination of operative and equipment. | Item | 10 | 5 | 50 | Done
[5 empty] | Sub-Total A: | 16750
Table B - Uplift for Emergency Works
Ref | In Hours /Out of Hours | Description | UOM | % Adjustment | Table A Labour Rates Total (Sub-Total A) | Total | Check?
B014 | In/Out of Hours | Uplift to Labour Rates in Table A (only) for emergency works, in accordance with tender documents | % | 0% | 16750 | 16750 | Done
[5 empty] | Sub-Total B: | 16750
[5 empty] | Total for evaluation (Sub-total A + Sub-total B): | 33500

## Access
RBG Asbestos Removals Framework | [7 empty] | Complete
Tenderer: | Cablesheer Asbestos Ltd
Tender Book - Access Rates
For clarity, the schedule of rates and daywork rates do not include for any access (scaffolding). As detailed in the Preliminaries document, Royal Greenwich directly instruct a specialist contractor for all access arrangements required. However, Royal Greenwich also reserve the right to instruct the appointed asbestos removals contractor(s) to provide suitable access arrangements for the works, throughout the duration of the framework. In this event, the below rates will be applied.
Table A - Access Schedule
Tenderers are to note that rate C025 must be between 0.00% and 7.00%.
Ref | Type | Description | UoM | Indicative Qty | Rate | Total | Check?
C001 | General scaffolding | SCAFFOLDING:PROVIDE NE 5M HIGH NE 10M GIRTH Scaffolding: Provide, erect, maintain for a period not exceeding one week and dismantle on completion tubular steel scaffolding not exceeding 5.00m high, and not exceeding 10.00m girth, including ladders, pulley ropes, wheel fixings etc. | IT | 20 | 1097.25 | 21945 | done
C002 | General scaffolding | SCAFFOLDING:PROVIDE 5 TO 10M HIGH NE 5M GIRTH Scaffolding: Provide, erect, maintain for a period not exceeding one week and dismantle on completion tubular steel scaffolding over 5.00m and not exceeding 10.00m high and not exceeding 5.00m girth, including ladders, pulley ropes, wheel fixings, etc. | IT | 20 | 1695.75 | 33915 | done
C003 | General scaffolding | SCAFFOLDING:PROVIDE 5 TO 10M HIGH NE 10M GIRTH Scaffolding: Provide, erect, maintain for a period not exceeding one week and dismantle on completion tubular steel scaffolding over 5.00m and not exceeding 10.00m high, and over 5.00m and not exceeding 10.00m girth, including ladders, pulley ropes, wheel fixings, etc. | IT | 20 | 2362.5 | 47250 | done
C004 | General scaffolding | SCAFFOLDING:PROVIDE 5 TO 10M HIGH NE 20M GIRTH Scaffolding: Provide, erect, maintain for a period not exceeding one week and dismantle on completion tubular steel scaffolding over 5.00m and not exceeding 10.00m high, and over 10.00m and not exceeding 20.00m girth, including ladders, pulley ropes, wheel fixings, etc. | IT | 20 | 3391.5 | 67830 | done
C005 | General scaffolding | SCAFFOLDING:PROVIDE 10 TO 15M HIGH NE 5M GIRTH Scaffolding: Provide, erect, maintain for a period not exceeding one week and dismantle on completion tubular steel scaffolding over 10.00m and not exceeding 15.00m high, and not exceeding 5.00m girth, including ladders, pulley ropes, wheel fixings, etc. | IT | 10 | 1197 | 11970 | done
C006 | General scaffolding | SCAFFOLDING:PROVIDE 10 TO 15M HIGH NE 10M GIRTH Scaffolding: Provide, erect, maintain for a period not exceeding one week and dismantle on completion tubular steel scaffolding over 10.00m and not exceeding 15.00m high, and over 5.00m and not exceeding 10.00m girth, including ladders, pulley ropes, wheel fixings, etc. | IT | 10 | 2543.625 | 25436.25 | done
C007 | General scaffolding | SCAFFOLDING:PROVIDE 10 TO 15M HIGH NE 20M GIRTH Scaffolding: Provide, erect, maintain for a period not exceeding one week and dismantle on completion tubular steel scaffolding over 10.00m and not exceeding 15.00m high, and over 10.00m and not exceeding 20.00m girth, including ladders, pulley ropes, wheel fixings, etc. | IT | 10 | 5087.25 | 50872.5 | done
C008 | General scaffolding | SCAFFOLDING:PROVIDE 15 TO 20M HIGH NE 5M GIRTH Scaffolding: Provide, erect, maintain for a period not exceeding one week and dismantle on completion tubular steel scaffolding over 15.00m and not exceeding 20.00m high, and not exceeding 5.00m girth, including ladders, pulley ropes, wheel fixings, etc. | IT | 3 | 1695.75 | 5087.25 | done
C009 | General scaffolding | SCAFFOLDING:PROVIDE 15 TO 20M HIGH NE 10M GIRTH Scaffolding: Provide, erect, maintain for a period not exceeding one week and dismantle on completion tubular steel scaffolding over 15.00m and not exceeding 20.00m high, and over 5.00m and not exceeding 10.00m girth, including ladders, pulley ropes, wheel fixings, etc. | IT | 3 | 3391.5 | 10174.5 | done
C010 | General scaffolding | SCAFFOLDING:PROVIDE 15 TO 20M HIGH NE 20M GIRTH Scaffolding: Provide, erect, maintain for a period not exceeding one week and dismantle on completion tubular steel scaffolding over 15.00m and not exceeding 20.00m high, and over 10.00m and not exceeding 20.00m girth, including ladders, pulley ropes, wheel fixings, etc. | IT | 3 | 6783 | 20349 | done
C011 | Scaffold Towers | SCAFFOLD TOWER:PROVIDE NE 10M HIGH Scaffolding: Provide, erect, maintain for a period not exceeding one week and dismantle on completion tubular steel tower scaffolding not exceeding 10.00m high including ladders, pulley rope, wheel fixings and one lift of boards. | IT | 20 | 598.5 | 11970 | done
C012 | Scaffold Towers | SCAFFOLD TOWER:PROVIDE NE 15M HIGH Scaffolding: Provide, erect, maintain for a period not exceeding one week and dismantle on completion tubular steel tower scaffolding over 10.00m and not exceeding 15.00m high including ladders, pulley ropes, wheel fixings and two lifts of boards. | IT | 10 | 969.57 | 9695.7 | done
C013 | Scaffold Towers | SCAFFOLD TOWER:PROVIDE NE 20M HIGH Scaffolding: Provide, erect, maintain for a period not exceeding one week and dismantle on completion tubular steel tower scaffolding over 15.00m and not exceeding 20.00mm high including ladders, pulley ropes, wheel fixings and two lifts of boards. | IT | 1 | 1292.76 | 1292.76 | done
C014 | Scaffold Towers | SCAFFOLD TOWER:MOVE POSITION Scaffolding: Move tubular steel tower scaffolding to new location as directed by Client’s Representative, temporarily dismantle and re-erect as necessary, any height of tower. | IT | 20 | 680 | 13600 | done
C015 | Working Platforms | SCAFFOLDING:PROVIDE WORKING PLATFORM Scaffolding: Provide, erect, maintain for a period not exceeding one week and dismantle on completion scaffold boards to form working platform (4 wide and toe board - per metre of platform). | LM | 500 | 15.96 | 7980 | done
C016 | Chimney Scaffolding | SCAFFOLDING:PROVIDE TO CHIMNEY NE 10M HIGH Scaffolding: Provide, erect, maintain for a period not exceeding one week and dismantle on completion scaffold and boards to form working platform around chimney stacks (4 wide and toe boards) including ladder stages not exceeding 10.00m high. | IT | 20 | 1197 | 23940 | done
C017 | Chimney Scaffolding | SCAFFOLDING:PROVIDE TO CHIMNEY NE 15M HIGH Scaffolding: Provide, erect, maintain for a period not exceeding one week and dismantle on completion scaffold and boards to form working platform around chimney stacks (4 wide and toe boards) including ladder stages over 10.00m and not exceeding 15.00m high. | IT | 10 | 1496.25 | 14962.5 | done
C018 | Chimney Scaffolding | SCAFFOLDING:PROVIDE TO CHIMNEY NE 20M HIGH Scaffolding: Provide, erect, maintain for a period not exceeding one week and dismantle on completion scaffold and boards to form working platform around chimney stacks (4 wide and toe boards) including ladder stages over 15.00m and not exceeding 20.00m high. | IT | 5 | 2154.6 | 10773 | done
C019 | Aerial Platforms | AERIAL PLATFORM:PROVIDE 10M PLATFORM Aerial Platform: Provide scissor lift or telescopic articulated vehicle mounted hydraulic platform and associated vehicle, max capacity 200kg up to 10.00m platform height, including any temporary relocation, remove on completion. | HR | 10 | 876.75 | 8767.5 | done
C020 | Aerial Platforms | AERIAL PLATFORM:PROVIDE 20M PLATFORM Aerial Platform: Provide scissor lift or telescopic articulated vehicle mounted hydraulic platform and associated vehicle, max capacity 200kg up to 20.00m platform height, including any temporary relocation, remove on completion. | HR | 5 | 1034.25 | 5171.25 | done
C021 | Rubbish Chutes | RUBBISH CHUTE:PROVIDE 10M HIGH Rubbish Chute: Provide, erect and maintain for a period not exceeding one week and dismantle on completion, flexible plastic rubbish chute fixed to scaffolding ne 10.00m high complete with siteguard panels, side entry chute as necessary. | IT | 20 | 349.125 | 6982.5 | done
C022 | Rubbish Chutes | RUBBISH CHUTE:PROVIDE 15M HIGH Rubbish Chute: Provide, erect and maintain for a period not exceeding one week and dismantle on completion, flexible plastic rubbish chute fixed to scaffolding ne 15.00m high complete with siteguard panels, side entry chute as necessary. | IT | 10 | 448.875 | 4488.75 | done
C023 | Rubbish Chutes | RUBBISH CHUTE:PROVIDE 20M HIGH Rubbish Chute: Provide, erect and maintain for a period not exceeding one week and dismantle on completion, flexible plastic rubbish chute fixed to scaffolding ne 20.00m high complete with siteguard panels, side entry chute as necessary. | IT | 5 | 568.575 | 2842.88 | done
C024 | Easy Deck Type Access Equipment | EASY DECK TYPE ACCESS EQUIPMENT Easy Deck: Provide, erect, maintain, relocate and dismantle as required to progress the Works, a set of Easy Deck Type Access equipment 2 storeys high including ladders (per day) | IT | 10 | 300 | 3000 | done
C025 | Additional Scaffold Hire | SCAFFOLDING:ADDITIONAL HIRE AFTER FIRST WEEK Scaffolding: Additional percentage addition to maintain for a period exceeding one week scaffolding, per additional Working Week or part. | Week or part | N/A | 4% | N/A | done
[5 empty] | Sub-Total A: | 420296.34
Table B - Uplift for Licensed Scaffolding
Ref | Type | Description | UoM | Schedule Total (Sub-Total A) | % Adjustment | Total | Check?
C026 | Licensed Uplift | Uplift to Access rates in Table A (only) where licensed scaffolding is required and instructed by RBG. This rate is to include all associated prelims and costs for the additional cost of the erection and dismantling of a licenced scaffold, over and above the scaffold costs in Table A above. | % | 420296.34 | 0% | 420296.34 | done
[5 empty] | Sub-Total B: | 420296.34
[5 empty] | Total for evaluation (Sub-total A + Sub-total B): | 840592.68

## Miscellaneous
RBG Asbestos Removals Framework |  |  |  | Incomplete
Tenderer: | Cablesheer Asbestos Ltd
Tender Book - Miscellaneous Items
Ref | Description | Rate | Check
D001 | Prelims percentage | 7% | Done
D002 | Overheads percentage | 8% | Done
D003 | Profits percentage | 6% | Done
D004 | Cost Associated with Mobilisation | 5% | Done
D005 | Cost Associated with the delivery of the Social Value Commitments outlined |  | Add